## Slide 1
Select device and analog output 0 or 1 (whichever port is connected to DS5)
Set these parameters
What each parameters
mean
This will be
stimulation profile
Stimulation state and relative timings are saved (when stimulation turns on or off it is logged)
How many times the stimulation will be delivered (not pulses) Current example: Time between stimulation* Max repeats = 500 s

## Slide 2
The stimulation timings file is located in
The Stimulation times folder where the program is stored
Program to run
File name format: STIM_<date>_<system time upto 4 decimal places>
First column stores relative time since the program was started (check the filename for system time)
Second column gives which stimulation amplitude is sent from DAQ
Example: stimulation pulse was delivered at 3V at 15.0425
And pulse was turned off at 15.0525